## Sheet 1
| Line | Location | Description Of Equipment | S/N Code | Working Range min | Working Range max | Equipment Range | Max Accepted Deviation | Calibration Date | Calibration Expiry Date | Model | Unit | Resolution | Environment ºC | Environment % rH | Environment % rH | Environment % rH | Environment % rH | Environment % rH | Pass | Fail | Internal Calibration | External Calibration
$# | Filling | Filling | CFT Nozzles Balances 20 L | 8870-1 | 0 | 30 | ± 30 gm | Kg | 2025-05-01 | 2026-05-01 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | C
| 1 | 1.000/ | 5 | 5.000/ | 10 | 10.004 | 30 | 30.007
$# | Filling | Filling | CFT Nozzles Balances 20 L | 8870-10 | 0 | 30 | ± 30 gm | Kg | 2025-05-01 | 2026-05-01 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | c
| 1 | 0.9996 | 5 | 4.997 | 10 | 9.995 | 30 | 29.984
$# | Filling | Filling | CFT Nozzles Balances 20 L | 8870-2 | 0 | 30 | ± 30 gm | Kg | 2025-05-01 | 2026-05-01 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | c
| 1 | 0.9998 | 5 | 5.001 | 10 | 10.003 | 30 | 30.002
$# | Filling | Filling | CFT Nozzles Balances 20 L | 8870-3 | 0 | 30 | ± 30 gm | Kg | 2025-05-01 | 2026-05-01 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | c
| 1 | 1.000/ | 5 | 5.000/ | 10 | 10.002 | 30 | 30.005
$# | Filling | Filling | CFT Nozzles Balances 20 L | 8870-4 | 0 | 30 | ± 30 gm | Kg | 2025-05-01 | 2026-05-01 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | C
| 1 | 0.9996 | 5 | 4.996 | 10 | 9.996 | 30 | 29.978
| 1 | 1.001
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#
$#